SWIMMING POOL

CAULKING & PATCH WORK

AT VARIOUS POOLS

2026
Specifications for

City Swimming Pools

Caulking and patch work


SCOPE

This project involves the removal and replacement of caulking joints at City of Omaha swimming pool locations. And some concrete patchwork. A City of Omaha representative will visit each site with the selected contractor and mark out all joints to be caulked and patched at each of the pools named below. The bid will be based on the quantities listed on the bid sheet. Any change to the quantities during installation will be Added/Deducted per unit price.  Work completed by the contractor in excess of what is approved will not be paid.
Pools requiring painting will need to be scheduled first.  All caulking needs to be completed at least thirty (30) days prior to the pool opening date. Below are the pool opening dates:
SWIMMING POOL
   ADDRESS
OPEN DATE

CAMELOT
9270 Cady Ave 
June 5, 2026
COMMON GROUND              1701 Veterans Dr                          NA
DEER RIDGE
585 S. 126th St.
June 1, 2026
ELMWOOD
606 S Happy Hollow Blvd
June 1, 2026
ELKHORN                                600 Hillcrest St.                            June 1, 2026
GALLAGHER
2936 N 52nd St.
June 1, 2026
HANSCOM PARK
3110 Ed Creighton Ave
June 5, 2026
HITCHCOCK
5025 S. 45th St.
June 1, 2026
KAREN PARK
6288 H St
June 5, 2026 


MILLER PARK
2725 Redick Ave
June 1, 2026
MOCKINGBIRD HILL
10242 Mockingbird Dr.
NA
MONTCLAIR                           2304 S 135th Ave                          NA
OAK HEIGHTS
10205 U St.
June 1, 2026
ROANOKE
4747 N 113th St.
June 1, 2026
SPRING LAKE
4020 Hoctor Blvd.
June 5, 2026
ZORINSKY                               3806 S 156TH                                June 1, 2026
GENERAL
A. All work shall comply with all Local, Municipal, and State Laws and rules and regulations governing any portion of this work and are incorporated into these specifications and their provisions shall be carried out by the Contractor.

B. Contractor will be responsible for obtaining all permits and paying all fees for construction.  City permits will be issued at no charge.

C. This project is State and City sales tax exempt.

D. The Contractor shall continuously maintain adequate protection of all his work from damage and shall protect the Owner's property from injury or loss arising in connection with work on this contract. The Contractor shall take care to avoid damage to any existing buildings, equipment, piping, pipe coverings, electrical systems, sewers, sidewalks, landscaping, grounds, aboveground or underground installations or structures of any kind, and shall be held responsible for any damage that does occur. Contractor will be responsible for repairing any ruts or depressions caused by their work.

E. The Contractor shall remove all debris generated by his work and shall broom-clean areas affected by him daily.

F. The Contractor is responsible for securing the construction area at the end of each working day.

G. The Contractor shall provide all materials, specialty items and accessories as required to complete the project as shown on the drawings and according to the specifications included herein.

H. The Contractor shall guarantee all materials and workmanship for a period of one-year following the final approval of each pool.

I. The bidder shall examine the work site and become familiar with the existing physical conditions before submitting a proposal.

J. By submitting a bid proposal, it is understood and agreed by the Contractor that he has, by careful examination of the site, satisfied himself as to the nature and location of the work, the conformity of the ground, the character, quality, and quantity of materials to be used, the character of the equipment, and facilities incidental to the completion of the work, the general and local conditions, and any other maters which may in any way affect the work under this contract.

EXPANSION JOINT REPLACEMENT

The City of Omaha Parks, Recreation & Public Property would like you to provide a unit price for removal of caulking and backer rood and replace with new backer rod and installation of caulking.

POOL TUB CAULKING

1. Lineal Foot price for less than 1/2” joint.
500 LF X
$
   =
$


2. Lineal Foot price for a ½”- 1” joint.
500 LF X
$
   =
$


3. Lineal Foot price for a 1”- 1 1/2” joint.
500 LF X
$
   =
$


4. Lineal Foot price for a 2 1/2” joint.
500 LF X
$
   =
$


5. Concrete patchwork requires a Sq.Ft. price.
10 SF X 
$
   =
$


TOTAL (amounts of caulking, and patchwork will vary from pool to pool) $



POOL DECK CAULKING

1. Lineal Foot price for less than 1/2” joint.
500 LF X
$
   =
$


2. Lineal Foot price for a ½”- 1” joint.
500 LF X
$
   =
$


3. Lineal Foot price for a 1”- 1 1/2” joint.
100 LF X
$
   =
$


4. Lineal Foot price for a 2 1/2” joint.
50 LF X
$
   =
$


5. Concrete patchwork requires a Sq.Ft. price.
50 SF X 
$
   =
$


TOTAL (amounts of caulking and patchwork will vary from pool to pool)
$


**PLEASE REFER TO DRAWING SHEETS #1, #2, #3 AND #4 


FOR TYPICAL CAULKING AND CONCRETE PATCHING DETAIL**
INSTALLATION

A. Applicator shall have at least five years experience in installing materials of types specified and shall have successfully completed at least 3 projects of similar scope and complexity.

B. A City of Omaha Parks and Recreation employee will pre-approve all joints prior to installing caulking.  Work completed by contractor in excess of what is approved will not be paid.
C. Prior to starting work the contractor shall submit for approval all materials

D. Do not proceed with installation of joint sealers when ambient and substrate temperature exist, when joint substrates are wet due to rain, frost, condensation or other causes.

E. Do not proceed with installation of joint sealer until contaminants capable of interfering with their adhesion are removed from joint substrates.

F. All joints are to be ground down to clean concrete with a masonry grinding wheel.

G. All joints will be primed – no exception.

H. Construct mock-ups where directed to demonstrate:  Mock-up may be part of finished work.   Notify owner’s representative of mock-up completion and allow 24 hours for visual inspection and approval of mock-up before proceeding with work.  Sealant adhesion performance can be evaluated after sealant has achieved full cure.

CLEAN UP OF POOL TUB

A.
The contractor is responsible for cleaning up the pool of all leaves and debris were it interferes with the area to be caulked.

B.
The contractor is also required to blow out joints that are not dry or are not drying out.

PRODUCTS

POOL TUB MATERIAL

Caulk – Sikaflex 451 One Part, Chlorine Resistant, Low Modulus, Pool Sealant

Primer – Sikalastic Primer for submerged applications in chlorine treated pools 


Color – white preferred or Standard gray or limestone is acceptable if white is unavailable

Joint Backing Material – Closed cell polyethylene foam.


Bond Breaker Tape – Where joint configuration does not allow for proper depth/width

Ratio use pressure sensitive tape.

DECK MATERIAL


Caulk – Vulkem 116 one part gun grade or Sonneborn NP-1 for pool decks only.  


Primer – Vulkem Primer 191 


Color – Standard gray or limestone


Joint Backing Material – Closed cell polyethylene foam.


Bond Breaker Tape – Where joint configuration does not allow for proper depth/width

Ratio use pressure sensitive tape.

PATCH MATERIAL

POOL TUB MATERIAL

Acryl 60 – One-component, water-based acrylic bonding and modifying admixture. This should be mixed at 1:2 Acryl 60 to water ratio. Follow all manufacture specification for installation of product. 

POOL DECK MATERIAL


Sonneborn SET 45 – One component, magnesium phosphate- based patching and repair mortar.  Follow all manufacture specification for mixing and installing of product. 

EXECUTION

A. Examine the areas and conditions under which the work will be preformed.  Review planned operating procedures with owner’s representative.  Do not proceed with work until unsatisfactory conditions are corrected in a manner acceptable to both owner and contractor.

B. Remove existing sealant and joint backer by mechanical methods in a manner not damaging to surrounding surfaces. 

C. All joints will be ground with a carborundum masonry grinding wheel.

D. Contractor to notify owner for joint inspection prior to caulking, joints must be clean and dry.

E. Examine joint sizes and correct as required to allow for anticipated joint movement and to achieve proper width/depth ratio per manufacturer’s recommendations for specified sealant.

F. Install joint backing material or apply bond breaker tape to achieve joint depth.

G. Where necessary to protect adjacent surfaces, mask adjacent surfaces with tape prior to priming and/or caulking.

H. Prime sides of joint in accordance with manufacturer’s directions, as soon as possible prior to caulking.

I. Primer shall be brushed on.

J. Prime only as much area as can be sealed in the same day.

K. Install closed cell backer rod without stretching, twisting, braiding or puncturing its outer skin.

L. Use an approved installation tool that is blunt surfaced and designed to accurately place the backer rod.

M. Apply sealant in accordance with manufacturer’s instruction ensuring to fill voids.

N. Neatly tool sealant in a manner that forces sealant against back of joint, ensures firm full contact at joint interfaces and leaves a finish that is semi smooth, uniform and free of ridges, wrinkles, sags, air pockets and embedded impurities.

O. Provide flat even tooled joint to concrete.

P. Clean adjacent surfaces immediately and leave work neat and clean.  Remove excess sealant and/or primer and droppings using recommended cleaners as work progresses.  Remove masking tape immediately after tooling of joint.

Q. Protect joint sealant from contact with contaminating substances and from damage.  Cut out and remove and replace contaminated sealant immediately, so that they are without contamination or damage at time of substantial completion.

IF YOU HAVE ANY QUESTIONS PLEASE CALL BRIAN HARTLEY AT 402-616-0284
END OF SPECIFICATIONS
[image: image1.jpg]CAULKING AS PER

SPECIFICATIONS
o 4
q- . : N
. 4 .
< = )
Ag
Ca CLOSEDCELL
4 . < BACKER ROD
a - | I
T A4 —
N .Amﬁzn— —|||='|E|:” A
S === 4
o . ===
g M=l=N=N=1=]
. Sl :
WARE =I=I=T=l=1 =
Ban B Ll
v 4 SNl
Ll
il
NOTE:
1. ALL CAULKING TO FOLLOW MANUFACTURER
SPEC. SHEET
2. ALL EDGES TO BE GROUND
AND PRIMED
CAULKING AS PER
SPECIFICATIONS \
L A o PO, ]
: ' 4
< CLOSEDCELL 4 .
. . : BACKER ROD q
A < 4 'A
4 - 4
v 4 g
é 4 4
NO SCALE

‘ON L33HS

TYP. CAULKING DETAIL

Omaha, Nebraska

REV BY :

DATE: 02/10/03
FILE NAME: CAULKDETAIL
2003

DRAWN BY: JML / DFF
CHK. BY: MO





[image: image2.jpg]NOTE:

1. ALL CAULKING TO FOLLOW MANUFACTURER

SPEC. SHEET

2. ALL EDGES TO BE GROUND

AND PRIMED

~ = 4
CAULKING AS PER 4 4 :
SPECIFICATIONS . - L
p s T
: A ” A - .
. e 4 - 4- 4
: CLOSEDCELL - val

g BACKER ROD A .

A p Emm —ﬁl- . A

: ﬂ _:_:_____:_: -

: HI === :
| | T 4 wa
g A EIEIEIEIEIE
R L AN ’
D ) === VAR
i
<IIE
DATE: 02/10/03 Consl:ct

g FILE NAME: geglilOETAlL Aﬂmpi].im;::[p;ﬁ n
Rl TYP. CAULKING DETAIL Al ||| NN
=z a AT+
o

Omaha, Nebraska

REV BY :





[image: image3.jpg]NOTE:

1. SAW CUT AREA TO BE PATCHED
TO A DEPTH OF TWO INCHES
REMOVE OLD CONCRETE BY

APPROPRIATE MECHANICAL MEANS.
TO OBTAIN AN AGGERGATE—-FRACTURED
SURFACE

APPLY BONDING AGENT OVER
AGGERGATE—-FRACTURED SURFACE
BEFORE APPLYING PATCH MATERIAL

///r———PATCH MATERIAL

'q. T | 9 ...“ a 9 4
) ‘~ "4 < ’ e
: e
"é: G 4 h ~..4 s 9 44..
X S NG S N NPT =
9 . : g NG T o nimmoaa
el j,i - —— AGGERGATE—FRACTURED SURFACE
A R B & . o 3 e s
NO SCALE
DATE: 08/10/03 i Contract
%] FILE NAME: CAULKDETAIL Administration
I':F'I DRAWN BY: Ja:':.s 7/ DFF mv:‘.“’“
Al TYP. PATCH DETAIL —r E,,%.;{_,,_,
¢ ¥ -
'é Omoha, Nebraska N —— EEED =





[image: image4.jpg]NOTE:

ALTERNATE JOINT DETAIL
ELMWOOD POOL TUB

1. ALL CAULKING TO FOLLOW MANUFACTURER
SPEC. SHEET

2. ALL EDGES TO BE GROUND
AND PRIMED

PRIMER AND CAULK

AS PER SPECIFICATIONS / BOND BREAKER
A 4 /27 (TYP) / N "t
a9 4 S :
- NEW GROUT—/G’ E B 44
. ) . . . ,.. . S q ) . -
4 . R DEPTH OF JOINT WILL
< a 4 VARY FOR EACH JOINT
: A R . 4 g
< - A 4 - . /\d : o

NO SCALE

‘ON 133HS

DATE: 02/10/03

JOINT GROUT DETAIL -

CHK. BY: MO
REV BY :

Omaha, Nebraska





GRAND TOTAL: $

1
10

